## Sheet0
Description | Quantity | Unit Cost | Total
02 Existing Conditions
02.04113 Selective Site Demolition
Building Demo, Site Demo, Strip and stockpile Topsoil | 1.00 LS | 130000 | 130000
Selective Site Demolition Total |  |  | 130000
Existing Conditions Total |  |  | 130000
03 Concrete
03.00000 Concrete
Cast-In-Place Concrete - Slab | 511.27 CY | 750 | 383452.5
Continuous Footing | 86.58 CY | 750 | 64935
Continuous Footing - Wall | 72.51 CY | 750 | 54382.5
Pump Truck | 3.00 EA | 1800 | 5400
Concrete Total |  |  | 508170
Concrete Total |  |  | 508170
04 Masonry
04.01000 Masonry
Full-Brick Veneer (Plan View) | 6,399.25 SF | 17 | 108787.25
Masonry Total |  |  | 108787.25
04.02200 CMU
2hr rated CMU | 11,015.20 SF | 26 | 286395.2
CMU Total |  |  | 286395.2
Masonry Total |  |  | 395182.45
05 Metal
05.03200 Metal Railings
Juliet Rail - Aluminum Guard Rail | 419.52 LF | 225 | 94392
Metal Railings Total |  |  | 94392
Metal Total |  |  | 94392
06 Wood , Plastic and Composites
06.02000 Finish Carpentry
Install & Trim Interior Wood Door [Subcontractor] | 406.00 EA | 175 | 71050
5/4" Window Stools | 932.50 LF | 3.5 | 3263.75
5/4" Window Stools 3636 | 72.00 LF | 3.5 | 252
Base Molding | 14,362.66 LF | 5 | 71813.3
Door Casing | 9,744.00 LF | 6 | 58464
Window Casing | 238.00 LF | 6 | 1428
Window Casing 3636 | 150.00 LF | 6 | 900
Window Casing 3678 | 1,656.00 LF | 6 | 9936
Finish Carpentry Total |  |  | 217107.05
06.02200 Millwork
Amenity Area Millwork | 1.00 LS | 55000 | 55000
Millwork Total |  |  | 55000
06.04001 Wood Framing Materials
2x4 PT | 9,730.60 LF | 1.74 | 16911.76
2x4 DF | 19,461.20 LF | 1.5 | 29113.97
2x4 Studs | 81,760.20 LF | 1.34 | 109558.66
2x6 PT | 918.26 LF | 1.91 | 1753.88
2x6 DF | 15,285.80 LF | 1.69 | 25894.17
2x6 Studs | 43,820.35 LF | 1.54 | 67483.34
2x8 DF | 15,089.47 LF | 1.99 | 30028.05
2x10 DF | 71,008.13 LF | 3.76 | 267132.58
4x8x1/2" LP Flame Block Sheathing | 58,342.54 SF | 4.13 | 240960
4x8x1/2" CDX Fir Plywood | 58,342.54 SF | 2.07 | 120801.28
4x8x3/4" TG Advantech Plywood | 94,677.50 SF | 2.41 | 227850
Termite shield (6" x 25' Aluminum Roll) | 834.78 LF | 0.76 | 634.55
FormSealR 5-1/2" x 50' Sill Seal | 834.78 LF | 0.27 | 228
Tyvek Housewrap | 54,290.84 SF | 0.47 | 25461
Wood Framing Misc. Materials | 1.00 LS | 300000 | 300000
Tyvek Tape | 54,290.84 SF | 0.14 | 7847.84
16D Nails - 3-1/2" | 31,668.48 EA | 0.04 | 1266.78
Wood Framing Materials Total |  |  | 1472925.86
06.04002 Wood Framing Labor
Interior Framed Wall Labor | 108,839.76 SF | 4.5 | 489778.93
Floor Framing Labor (Joists & Subfloor) | 104,360.73 SF | 4.5 | 469623.29
Exterior Wall Framing & 2x Sheathing Labor | 53,038.67 SF | 9 | 477348.03
House Wrap Labor | 54,290.84 SF | 0.65 | 35289.06
Wood Framing Labor Total |  |  | 1472039.31
06.04300 Wood Stairs And Railings
Wood Stairs & Railings | 1.00 LS | 75000 | 75000
Wood Stairs And Railings Total |  |  | 75000
06.06600 Decking
Trex Decking + Framing | 2,138.36 SF | 70 | 149685.2
42" high wood railing (TimberTech) | 330.65 LF | 28.3 | 9357.4
Decking Total |  |  | 159042.6
Wood , Plastic and Composites Total |  |  | 3451114.82
07 Thermal and Moisture Protection
07.02000 Insulation
Roxul Sound Deadening Insulation | 119,723.77 SF | 1.5 | 179585.67
R-21 Fiberglass Batt (Plan View) | 58,342.54 SF | 1.25 | 72928.19
Insulation Total |  |  | 252513.86
07.02200 Roof And Deck Insulation
2.6" Iso Board 4X4 | 4,666.90 SF | 1.06 | 4958.56
Roof And Deck Insulation Total |  |  | 4958.56
07.02700 Air Barriers
1/2" Densdeck Non-Prime 4X8 | 4,666.90 SF | 0.66 | 3062.64
Air Barriers Total |  |  | 3062.64
07.03000 Roofing
30 Year Asphalt Shingles | 15,419.10 SF | 5.5 | 84805.05
80 Mil TPO Roofing Membrane, 10' X 50' | 4,666.90 SF | 0.72 | 3358.8
Membrane Primer (Johns Manville Single Ply or Equal) | 4,666.90 SF | 0.72 | 3355.2
Roofing Crew | 4,666.90 SF | 0.38 | 1759.38
Walking Pads | 40.00 EA | 95 | 3800
Roofing Total |  |  | 97078.43
07.07600 Roof Pavers
Roof Pavers | 3,570.66 SF | 32 | 114261.12
Roof Pavers Total |  |  | 114261.12
07.09510 Siding
James hardie | 13,773.87 SF | 15 | 206608.05
1/2" x 6"x16' Clear Cedar Bevel Siding | 10,147.81 SF | 20 | 202956.2
Vinyl Siding | 30,369.16 SF | 3.75 | 113884.35
Siding Total |  |  | 523448.6
Thermal and Moisture Protection Total |  |  | 995323.21
08 Openings
08.01100 Doors & Frames
HM Frame (Single) | 26.00 EA | 325 | 8450
HM Frame (Single) (entry) | 75.00 EA | 325 | 24375
HM Frame (Pair) | 12.00 EA | 375 | 4500
HM Door | 50.00 EA | 350 | 17500
Wood Frame 6'0"x7'0" (Interior) | 150.00 EA | 220 | 33000
Exterior Sliding French Door Pair | 75.00 EA | 1800 | 135000
Doors & Frames Total |  |  | 222825
08.01400 Wood Doors
Single prehung interior doors 3x7 | 406.00 EA | 250 | 101500
Solid-Core Wood Door (entry) | 75.00 EA | 550 | 41250
Solid-Core Wood Door (Interior) | 300.00 EA | 200 | 60000
Wood Doors Total |  |  | 202750
08.01500 Hardware
Door Hardware (Commercial) | 50.00 EA | 500 | 25000
Door Hardware (entry) | 75.00 EA | 300 | 22500
Door Hardware (Commercial) (Interior) | 300.00 EA | 200 | 60000
Door Hardware (Residential Builder-Grade) | 406.00 EA | 250 | 101500
Hardware Total |  |  | 209000
08.04000 Aluminum & Glass
Kawneer 190 Series Narrow Stile | 4.00 EA | 4000 | 16000
Kawneer 190 Series Narrow Stile | 12.00 EA | 400 | 4800
Standard Hardware | 16.00 EA | 1200 | 19200
Aluminum & Glass Total |  |  | 40000
08.05000 Windows
Windows 10860 | 22.00 EA | 2500 | 55000
Windows 3636 | 24.00 EA | 850 | 20400
Windows 3678 | 235.00 EA | 900 | 211500
Windows Total |  |  | 286900
08.08200 Arch. Metal & Glass
Interior Storefront (½” Clear Tempered with Top & Bottom Channel - Black Anodized) (Plan View) | 88.92 SF | 105 | 9336.6
Exterior Glass Storefront System Black (Plan View) | 4,068.74 SF | 85 | 345842.9
Arch. Metal & Glass Total |  |  | 355179.5
08.08500 Shower Enclosures
Shower Enclosure | 83.00 EA | 2250 | 186750
Shower Enclosures Total |  |  | 186750
Openings Total |  |  | 1503404.5
09 Finishes
09.02300 Drywall & Carpentry
1/2" GWB Walls (Plan View) * | 298,524.08 SF | 2 | 597048.16
1/2" GWB Ceilings * | 112,967.77 SF | 2 | 225935.54
Install Bath Accessories | 105.00 BATH | 600 | 63000
Install Interior Door, Frame & HW | 425.00 EA | 225 | 95625
Drywall & Carpentry Total |  |  | 981608.7
09.03013 Tile & Stone
Wall Tile (Material Allowance) | 3,000.00 SF | 23.7 | 71100
Tile & Stone Total |  |  | 71100
09.06000 Flooring
LVT - Corridor | 11,687.63 SF | 7 | 81813.41
Luxury Vinyl Plank | 75,972.00 SF | 5 | 379860
24" x 24" Johnsonite Rubber Flooring | 1,320.00 SF | 18.5 | 24420
Bathroom Resilient Flooring | 6,825.00 SF | 26.07 | 177952.32
Flooring Total |  |  | 664045.73
09.06400 Wood Flooring
Wood Flooring (High End) | 5,958.89 SF | 20 | 119177.8
Wood Flooring Total |  |  | 119177.8
09.09100 Painting
Paint GWB Walls | 305,654.39 SF | 1.25 | 382067.99
Paint Base Molding | 14,362.66 LF | 3 | 43087.98
Paint GWB Ceilings | 104,360.73 SF | 1.3 | 135668.95
Paint/Stain New Doors & Casing | 406.00 EA | 175 | 71050
Paint/Stain New Doors & Frames | 425.00 EA | 175 | 74375
Paint Window Casing | 2,044.00 LF | 5 | 10220
Painting Total |  |  | 716469.92
Finishes Total |  |  | 2552402.15
10 Specialties
10.02800 Bath Accessories
Bath Accessories (Budget Per Bathroom) | 105.00 EA | 1000 | 105000
Trash Receptacle [ASI 04773] | 3.00 EA | 148.46 | 445.38
Bath Accessories Total |  |  | 105445.38
10.05110 Lockers
ASI One-Tier Traditional Locker 12"x12"x78" | 5.00 EA | 575 | 2875
Lockers Total |  |  | 2875
10.05523 Mailboxes
Mailboxes | 1.00 LS | 15000 | 15000
Salsbury 6 Door High Recessed Mounted 4C Horizontal Mailbox with 10 Doors in Aluminum with USPS Access - Front Loading | 10.00 EA | 1500 | 15000
Mailboxes Total |  |  | 30000
Specialties Total |  |  | 138320.38
11 Equipment
11.03100 Appliances
Refrigerator | 75.00 EA | 2000 | 150000
Dishwasher | 75.00 EA | 1200 | 90000
Range | 75.00 EA | 2500 | 187500
Washer & dryer | 75.00 EA | 3000 | 225000
Appliances Total |  |  | 652500
11.08200 Trash Compactors and Bailers
Trash Compactor (One Apple Pak Model #100) | 1.00 EA | 26000 | 26000
Trash Compactors and Bailers Total |  |  | 26000
Equipment Total |  |  | 678500
12 Furnishing
12.03800 Residential Cabinetry
Kitchen & Vanity cabinets & SS Countertops | 75.00 EA | 11000 | 825000
Residential Cabinetry Total |  |  | 825000
Furnishing Total |  |  | 825000
13 Special Construction
13.01100 Pools
Pool Budget (Small) | 1.00 LS | 268000 | 268000
Pools Total |  |  | 268000
13.02400 Special Activity Rooms
Fitness Equipment | 1.00 LS | 75000 | 75000
Special Activity Rooms Total |  |  | 75000
Special Construction Total |  |  | 343000
14 Conveying System
14.02000 Elevators
Hydraulic Elevator 6-Stop 100 FPM 3000Lb Capacity | 2.00 EA | 190000 | 380000
Elevators Total |  |  | 380000
Conveying System Total |  |  | 380000
21 Fire Suppression
21.00000 Sprinkler
Sprinkler Budget | 101,200.00 SF | 6 | 607200
Sprinkler Total |  |  | 607200
Fire Suppression Total |  |  | 607200
22 Plumbing
22.00000 Plumbing
Plumbing - Piping Allowance | 1.00 LS | 650000 | 650000
Bath Lav (Sink) & Faucet Connection | 105.00 EA | 1100 | 115500
Standard Bathtub Connection | 105.00 EA | 1500 | 157500
Sink & Faucet Connection | 75.00 EA | 1200 | 90000
Dishwasher Connection | 75.00 EA | 800 | 60000
Refrigerator Connection | 75.00 EA | 800 | 60000
Refrigerator Waterline | 75.00 EA | 700 | 52500
Plumbing Total |  |  | 1185500
22.04000 Plumbing Fixtures
Kitchen Sink | 75.00 EA | 1700 | 127500
Kitchen Faucet | 75.00 EA | 1000 | 75000
Lav Sink | 105.00 EA | 1100 | 115500
Lav Faucet | 105.00 EA | 750 | 78750
Standard Bathtub | 105.00 EA | 1000 | 105000
Hot Water Heater | 75.00 EA | 2500 | 187500
Standard Shower Kit | 75.00 EA | 1000 | 75000
Plumbing Fixtures Total |  |  | 764250
Plumbing Total |  |  | 1949750
23 Heating, Ventilating and Air-Conditioning
23.00000 HVAC
HVAC | 101,200.00 SF | 22 | 2226400
HVAC Total |  |  | 2226400
Heating, Ventilating and Air-Conditioning Total |  |  | 2226400
26 Electrical
26.00000 Electric
Electrical (non-union residential budget w/ fire alarm) | 101,200.00 SF | 22 | 2226400
Electric Total |  |  | 2226400
26.00519 Low voltage
Tele/Data/Low Voltage Allowance | 101,200.00 SF | 2 | 202400
Low voltage Total |  |  | 202400
Electrical Total |  |  | 2428800
31 Sitework
31.01025 Erosion And Sedimentation Controls
Inlet Protection | 20.00 EA | 500 | 10000
Silt Fence | 1,349.40 LF | 10 | 13494
Construction Entrance | 1.00 EA | 2000 | 2000
Erosion And Sedimentation Controls Total |  |  | 25494
31.01050 Excavation And Fill
Excavate Foundation | 25,563.63 SF | 2 | 51127.26
Prepare Slab Subgrade and Compact | 25,563.63 SF | 0.85 | 21729.09
Backfill Foundation and Compact | 25,563.63 SF | 1.5 | 38345.45
2" Rigid Insulation Below Grade | 28,119.99 SF | 2.5 | 70299.98
Crushed Stone | 639.09 CY | 75 | 47931.75
Excavate to the bottom of the SubBase | 4,921.39 SF | 2 | 9842.78
6" Granular material ( bank run sand and gravel) | 28.05 CY | 45 | 1262.25
Excavation | 8,190.40 CY | 5.5 | 45047.2
Excavation And Fill Total |  |  | 285585.76
31.01100 Drainage & Stormwater
Drainage & Stormwater Allowance | 1.00 LS | 450000 | 450000
Drainage & Stormwater Total |  |  | 450000
31.01150 Sewer & Waste
Sewer and Waste Allowance | 1.00 LS | 59600 | 59600
Road Demo and Restoration for Sewer Connection + Traffic Control & Steel Plates | 1.00 EA | 4250 | 4250
Sewer & Waste Total |  |  | 63850
31.01200 Water Service
Water Service Allowance | 1.00 LS | 94600 | 94600
Water Service Total |  |  | 94600
31.02200 Grading
Provide topsoil and seeding area. | 18,782.08 SF | 3.8 | 71371.9
Grading Total |  |  | 71371.9
Sitework Total |  |  | 990901.66
32 Exterior Improvements
32.01100 Base Courses
6" NYS 45-RCA Base Course ( Change Inches as needed) | 959.37 CY | 45 | 43171.65
Base Courses Total |  |  | 43171.65
32.01150 Pavement Top Courses
2" NYS 6f Wearing Coarse (Wearing course + Dense Binder) | 1,229.96 TN | 140 | 172194.4
Pavement Top Courses Total |  |  | 172194.4
32.01200 Paving & Striping
Striping | 1.00 LS | 15000 | 15000
Paving & Striping Total |  |  | 15000
32.01400 Pavers
Plaza Pavers | 5,400.00 SF | 15 | 81000
Pavers Total |  |  | 81000
32.01600 Site Concrete
Concrete Curb (6” Wide @ Top & 8-1/4” @ Bottom) (Includes Excavation) | 2,351.07 LF | 23 | 54074.61
Sidewalks | 3,810.78 SF | 9.5 | 36202.42
Site Concrete Total |  |  | 90277.03
Exterior Improvements Total |  |  | 401643.08
97 Allowances
97.00000 Allowances
Amenity Allowance | 1.00 LS | 500000 | 500000
Allowances Total |  |  | 500000
Allowances Total |  |  | 500000
Sub-Total (Base Cost) |  |  | 21099504.25

## Summary
Description |  | Total
Sub-Total (Base Cost) |  | 21099504.25
Sub-Total (Direct Cost) |  | 21099504.25
Design Contingency | 5.0000% | 1054975.21
General Conditions & General Requirements | 8.0000% | 1772358.36
Insurance | 3.0000% | 717805.13
Fee | 3.0000% | 739339.29
Total Estimate |  | 25383982.24
Material | 2952545.14
Labor | 90360.45
SubContractor | 18056598.66
Equipment | 0
Other | 0