## Sheet0
Description | Quantity | Unit Cost | Total
02 Existing Conditions
02.00050 Demolition
Site Demolition | 1.00 LS | 130000 | 130000
Demolition Total |  |  | 130000
Existing Conditions Total |  |  | 130000
03 Concrete
03.00000 Concrete
Foundation | 1.00 LS | 1956150 | 1956150
Flatwork | 1.00 LS | 695737.35 | 695737.35
L2 Podium, 12" avg assumed | 1.00 LS | 1395525 | 1395525
Concrete Total |  |  | 4047412.35
Concrete Total |  |  | 4047412.35
04 Masonry
04.01000 Masonry
CMU Block (Plan View) | 12,357.22 BLOCK | 30 | 370716.6
2hr rated CMU (Plan View) | 6,257.20 BLOCK | 30 | 187716
Masonry Total |  |  | 558432.6
04.02200 CMU
8" CMU Wall - Breakout for underground level | 2,640.00 SF | 26 | 68640
8" CMU Wall - DEDUCT Breakout for underground level | 2,640.00 SF | -26 | -68640
8" CMU Wall | 12,753.60 SF | 26 | 331593.6
CMU Total |  |  | 331593.6
04.05710 Brick
Full-Brick Veneer | 6,108.99 SF | 17 | 103852.83
Brick Total |  |  | 103852.83
Masonry Total |  |  | 993879.03
05 Metal
05.03200 Metal Railings
Juliet Rail - Aluminum Guard Rail | 824.26 LF | 225 | 185458.5
Metal Railings Total |  |  | 185458.5
05.07620 Canopy Systems
Misc. Metals Allowance | 1.00 LS | 250000 | 250000
Uni-Structure Canopy [6’W x 3’6”D x 10”H (C-Channel) w/ 1 LED Downlight & 2 Turnbuckles] | 1.00 EA | 2124 | 2124
Canopy Systems Total |  |  | 252124
Metal Total |  |  | 437582.5
06 Wood , Plastic and Composites
06.02000 Finish Carpentry
3x7 BD/Bath Pre-Hung Wood Door Install & Trim Interior Wood Door | 567.00 EA | 175 | 99225
2-6 x 7 Pre-Hung Wood Door Install & Trim Interior Wood Door [Subcontractor] | 158.00 EA | 175 | 27650
6x7 closet Pre-Hung Wood Door Install & Trim Interior Wood Door [Subcontractor] | 133.00 EA | 300 | 39900
5/4" Window Stools | 15,828.00 LF | 4.5 | 71226
Base Molding | 14,092.95 LF | 7 | 98650.65
3x7 BD/Bath Pre-Hung Wood Door Casing | 13,608.00 LF | 6 | 81648
2-6 x 7 Pre-Hung Wood Door Casing | 3,792.00 LF | 6 | 22752
6x7 closet Pre-Hung Wood Door Casing | 3,192.00 LF | 8 | 25536
Window Casing | 27,444.00 LF | 7 | 192108
Window Casing | 5,112.00 LF | 6 | 30672
Finish Carpentry Total |  |  | 689367.65
06.02200 Millwork
Upper and lower cabinets (Mid-Grade) | 2,181.00 LF | 0 | 0
Vanities | 513.50 LF | 0 | 0
Millwork Total |  |  | 0
06.02300 Closet Interiors
Closet Interiors (Hat Shelf & Rod) | 1,596.00 LF | 95 | 151620
Closet Interiors (Master WIC) | 960.00 LF | 350 | 336000
Closet Interiors Total |  |  | 487620
06.04001 Wood Framing Materials
4x8x5/8" CDX Fir Plywood | 34,308.47 SF | 0 | 0
Framing and Trusses (Davinci) | 1.00 LS | 3685600 | 3685600
Wood Framing Materials Total |  |  | 3685600
06.04002 Wood Framing Labor
Interior Framed Wall Labor | 78,104.10 SF | 0 | 0
Floor Framing Labor (Joists & Subfloor) | 165,601.81 SF | 0 | 0
Exterior Wall Framing & Sheathing Labor | 51,703.94 SF | 0 | 0
Roof Framing & Sheathing Labor | 31,189.52 SF | 0 | 0
Wood Framing Labor Total |  |  | 0
06.06600 Decking
Wood Decking (outdoor amenity) | 5,892.85 SF | 15 | 88392.75
Trex Decking + Framing | 5,143.61 SF | 70 | 360052.7
42" high wood railing (TimberTech) | 1,497.57 LF | 40.75 | 61025.98
TimberTech Universal Railing (White) | 266.19 LF | 40.75 | 10847.24
Decking Total |  |  | 520318.67
Wood , Plastic and Composites Total |  |  | 5382906.32
07 Thermal and Moisture Protection
07.01000 Foundation Waterproofing
Foundation Waterproofing | 1.00 ALLW | 110000 | 110000
Foundation Waterproofing Total |  |  | 110000
07.02000 Insulation
Slab Vapor Barrier Upgrade | 40,894.00 SF | 5 | 204470
Roxul Sound Deadening Insulation | 85,914.51 SF | 1.5 | 128871.76
R-21 Fiberglass Batt (Plan View) | 71,180.05 SF | 1.5 | 106770.09
R-49 Spray-Foam | 34,308.47 SF | 8.5 | 291622
Insulation Total |  |  | 731733.85
07.03000 Roofing
30 Year Asphalt Shingles | 41,814.42 SF | 11 | 459958.62
Roofing Total |  |  | 459958.62
07.07600 Roof Pavers
Rooftop Pedestal Paver System | 6,048.06 SF | 32 | 193537.92
Roof Pavers | 867.60 SF | 32 | 27763.2
Roof Pavers Total |  |  | 221301.12
07.09510 Siding
Vinyl Siding | 65,839.38 SF | 3.75 | 246897.69
1/2" x 6"x16' Clear Cedar Bevel Siding (Kiln Dried) | 10,562.58 SF | 23.5 | 248179.89
James Hardie Fiber Cement Siding | 3,453.04 SF | 15 | 51795.6
James Hardie Plank Siding (Select Cedarmill Lap) | 37,776.95 SF | 7.05 | 266327.5
Siding Total |  |  | 813200.68
Thermal and Moisture Protection Total |  |  | 2336194.27
08 Openings
08.01100 Doors & Frames
3x7 HM Frame (Single) | 20.00 EA | 468 | 9360
Entry Door - Wood Door - HM Frame (Single) | 133.00 EA | 468 | 62244
6x7 HM Frame (Pair) | 4.00 EA | 540 | 2160
HM Frame (Pair) | 7.00 EA | 540 | 3780
3x7 for HM Door Pairs | 8.00 EA | 504 | 4032
3x7 HM Door | 20.00 EA | 504 | 10080
HM Door | 14.00 EA | 504 | 7056
Doors & Frames Total |  |  | 98712
08.01400 Wood Doors
Sliding Glass Doors | 133.00 EA | 1850 | 246050
Full Glass Wood Door | 1.00 EA | 1728 | 1728
3x7 BD/Bath Pre-Hung Wood Door | 567.00 EA | 300 | 170100
2-6 x 7 Pre-Hung Wood Door - Closet | 158.00 EA | 270 | 42660
6x7 closet Pre-Hung Wood Door | 133.00 EA | 450 | 59850
Entry Door - Wood Door - Solid-Core Wood Door | 133.00 EA | 792 | 105336
Wood Doors Total |  |  | 625724
08.01500 Hardware
6x7 Door Hardware (Commercial) | 8.00 EA | 1548 | 12384
3x7 Door Hardware (Commercial) | 20.00 EA | 1548 | 30960
Door Hardware (Commercial) | 14.00 EA | 1548 | 21672
Entry Door - Wood Door Door Hardware (Commercial) | 133.00 EA | 1548 | 205884
3x7 BD/Bath Pre-Hung Door Hardware (Residential Builder-Grade) | 567.00 EA | 360 | 204120
2-6 x 7 Pre-Hung Wood Door Hardware (Residential Builder-Grade) | 158.00 EA | 360 | 56880
6x7 closet Pre-Hung Wood Door Hardware (Residential Builder-Grade) | 133.00 EA | 720 | 95760
Hardware Total |  |  | 627660
08.05000 Windows
Windows 3678 | 379.00 EA | 1055.81 | 400151.99
Windows 3636 | 24.00 EA | 2060.7 | 49456.8
Windows 10860 | 22.00 EA | 2914.69 | 64123.18
Entrance Glass Door Pair | 1.00 EA | 4578.05 | 4578.05
Entrance Glass Door Pair | 8.00 EA | 6539.68 | 52317.44
Windows Total |  |  | 570627.46
08.08200 Arch. Metal & Glass
Exterior Glass Storefront System (Clear Anodized) | 7,037.73 SF | 75 | 527829.75
Arch. Metal & Glass Total |  |  | 527829.75
08.08500 Shower Enclosures
Shower Enclosure | 158.00 EA | 2250 | 355500
Shower Enclosures Total |  |  | 355500
Openings Total |  |  | 2806053.21
09 Finishes
09.02300 Drywall & Carpentry
1/2" GWB Walls (Plan View) * | 214,634.80 SF | 2 | 429269.6
1/2" GWB Ceilings * | 179,365.17 SF | 2 | 358730.34
Install Bath Accessories | 158.00 BATH | 600 | 94800
Install Interior Door, Frame & HW | 22.00 EA | 225 | 4950
3x7- common area, Install Interior Door, Frame & HW | 20.00 EA | 225 | 4500
Entry Door - Wood Door Install Interior Door, Frame & HW | 133.00 EA | 225 | 29925
Drywall & Carpentry Total |  |  | 922174.94
09.03013 Tile & Stone
Wall Tile | 11,200.00 SF | 26.09 | 292185.6
Mud Job at Shower | 158.00 EA | 500 | 79000
Tile & Stone Total |  |  | 371185.6
09.06000 Flooring
VCT | 12,570.12 SF | 3.88 | 48772.06
Luxury Vinyl Plank | 99,750.00 SF | 7.5 | 748125
Bathroom Resilient Flooring | 10,425.00 SF | 37.54 | 391412.88
Flooring Total |  |  | 1188309.94
09.06400 Wood Flooring
Wood Flooring (High End) | 5,417.17 SF | 20 | 108343.4
Wood Flooring Total |  |  | 108343.4
09.09100 Painting
Paint GWB Walls | 203,434.80 SF | 1.3 | 264465.23
Paint Base Molding | 14,092.95 LF | 4 | 56371.8
Paint GWB Ceilings | 165,601.81 SF | 1.3 | 215282.35
3x7 BD/Bath Pre-Hung Wood Door Paint/Stain New Doors & Casing | 567.00 EA | 175 | 99225
2-6 x 7 Pre-Hung Wood Door Paint/Stain New Doors & Casing | 158.00 EA | 175 | 27650
6x7 closet Pre-Hung Wood Door Paint/Stain New Doors & Casing | 133.00 EA | 300 | 39900
Paint/Stain New Doors & Frames | 42.00 EA | 175 | 7350
Entry Door - Wood Door Paint/Stain New Doors & Frames | 133.00 EA | 175 | 23275
Paint Window Casing | 32,556.00 LF | 5 | 162780
Painting Total |  |  | 896299.38
Finishes Total |  |  | 3486313.26
10 Specialties
10.02800 Bath Accessories
Bath Accessories (Budget Per Bathroom) | 158.00 EA | 1550 | 244900
Bath Accessories Total |  |  | 244900
Specialties Total |  |  | 244900
11 Equipment
11.03100 Appliances
Refrigerator | 133.00 EA | 2930 | 389690
Dishwasher | 133.00 EA | 1778 | 236474
Range | 133.00 EA | 3650 | 485450
Washer & dryer | 133.00 EA | 4550 | 605150
Appliances Total |  |  | 1716764
11.08200 Trash Compactors and Bailers
Trash Compactor (One Apple Pak Model #100) | 2.00 EA | 50000 | 100000
Trash Compactors and Bailers Total |  |  | 100000
Equipment Total |  |  | 1816764
12 Furnishing
12.03600 Countertops
Solid Surface Countertops | 1,027.00 SF | 100 | 102700
Stone Countertops (From Elevations) | 5,958.40 SF | 120 | 715008
Countertops Total |  |  | 817708
12.03800 Residential Cabinetry
Kitchen & Vanity cabinets | 1.00 LS | 1200000 | 1200000
Residential Cabinetry Total |  |  | 1200000
Furnishing Total |  |  | 2017708
14 Conveying System
14.02000 Elevators
Elevators (Per Stop) - Breakout for ground level | 2.00 EA | 33000 | 66000
Elevators (Per Stop) -Deduct- Breakout for ground level | 2.00 EA | -33000 | -66000
Elevators (Per Stop) | 12.00 EA | 33000 | 396000
Elevators Total |  |  | 396000
14.09000 Other Conveying Equipment
Trash Chutes | 2.00 EA | 12500 | 25000
Other Conveying Equipment Total |  |  | 25000
Conveying System Total |  |  | 421000
21 Fire Suppression
21.00000 Sprinkler
Sprinkler Breakout | 40,000.00 SF | 6 | 240000
Sprinkler Budget | 203,658.00 SF | 6 | 1221948
Sprinkler Total |  |  | 1461948
Fire Suppression Total |  |  | 1461948
22 Plumbing
22.00000 Plumbing
Disconnect Gas Meter and Pipework | 1.00 EA | 300 | 300
Residential Toilet Connection | 158.00 EA | 1200 | 189600
Bath Lav (Sink) & Faucet Connection | 133.00 EA | 1100 | 146300
Plumbing Adjustment | 1.00 LS | 600000 | 600000
Standard Shower Connection | 158.00 EA | 1200 | 189600
Standard Bathtub Connection | 158.00 EA | 1500 | 237000
Sink & Faucet Connection | 133.00 EA | 1200 | 159600
Dishwasher Connection | 266.00 EA | 800 | 212800
Refrigerator Waterline | 133.00 EA | 700 | 93100
Plumbing Total |  |  | 1828300
22.04000 Plumbing Fixtures
Kitchen Sink | 133.00 EA | 1728 | 229824
Kitchen Faucet | 133.00 EA | 720 | 95760
Lav Sink | 133.00 EA | 864 | 114912
Lav Faucet | 133.00 EA | 360 | 47880
Residential Toilet | 158.00 EA | 576 | 91008
Standard Bathtub | 158.00 EA | 1440 | 227520
Standard Shower Kit | 158.00 EA | 1440 | 227520
Plumbing Fixtures Total |  |  | 1034424
Plumbing Total |  |  | 2862724
23 Heating, Ventilating and Air-Conditioning
23.00000 HVAC
Louvers 5'x5' | 18.00 EA | 2500 | 45000
HVAC Breakout for Ground level | 40,894.00 SF | 18 | 736092
HVAC (Non-union residential Budget Allowance) | 203,658.00 SF | 18 | 3665844
HVAC Total |  |  | 4446936
Heating, Ventilating and Air-Conditioning Total |  |  | 4446936
26 Electrical
26.00000 Electric
Electrical - Garage level breakout | 40,894.00 SF | 18 | 736092
Electrical (non-union residential budget allowance) | 203,658.00 SF | 24 | 4887792
Electric Total |  |  | 5623884
26.05630 Generator
ALLOWANCE FOR 400 KW, DIESEL POWERED GENERATOR | 1.00 LS | 160000 | 160000
Generator Total |  |  | 160000
Electrical Total |  |  | 5783884
31 Sitework
31.00050 Site Demolition
Remove and Dispose of Existing Asphalt | 1,257.09 SF | 2 | 2514.18
Site Demolition Total |  |  | 2514.18
31.01000 Site Clearing
Clear And Grub - Heavy Per Acre | 2.11 ACRE | 6000 | 12660
Site Clearing Total |  |  | 12660
31.01025 Erosion And Sedimentation Controls
Construction Entrance | 1.00 LS | 10000 | 10000
Silt Fence | 1,349.40 LF | 10 | 13494
Erosion And Sedimentation Controls Total |  |  | 23494
31.01050 Excavation And Fill
Excavation - Subcontractor Proposal | 1.00 LS | 240000 | 240000
Excavation - Deduct for underground level | 1.00 LS | -240000 | -240000
Excavation - Subcontractor Proposal | 1.00 LS | 300000 | 300000
Excavate Foundation | 125,852.08 SF | 0 | 0
Shoring Allowance | 1.00 EA | 200000 | 200000
Prepare Slab Subgrade and Compact | 125,852.08 SF | 0 | 0
Backfill Foundation and Compact | 125,852.08 SF | 0 | 0
2" Rigid Insulation Below Grade | 138,437.29 SF | 0 | 0
Crushed Stone | 4,195.07 CY | 0 | 0
Excavate to the bottom of the SubBase | 5,319.94 SF | 0 | 0
6" Granular material ( bank run sand and gravel) | 128.07 CY | 0 | 0
Excavation for ground level | 24,571.22 CY | 0 | 0
Excavation And Fill Total |  |  | 500000
31.01100 Drainage & Stormwater
Drainage - Subcontractor | 1.00 LS | 682365 | 682365
Drainage & Stormwater Total |  |  | 682365
31.01150 Sewer & Waste
Sewer and Waste - Subcontractor | 1.00 LS | 59600 | 59600
Road Demo and Restoration for Sewer Connection + Traffic Control & Steel Plates | 1.00 EA | 4250 | 4250
Sewer & Waste Total |  |  | 63850
31.01200 Water Service
Water Service - Subcontractor | 1.00 LS | 94600 | 94600
Water Service Total |  |  | 94600
Sitework Total |  |  | 1379483.18
32 Exterior Improvements
32.01150 Pavement Top Courses
2" NYS 6f Wearing Coarse (Wearing course + Dense Binder) | 256.42 TN | 140 | 35898.8
Pavement Top Courses Total |  |  | 35898.8
32.01200 Paving & Striping
Asphalt Paving - Subcontractor | 1.00 LS | 178757 | 178757
Striping - Deduct Parking Garage | 1,819.85 LF | 3 | 5459.55
Striping - Parking Lot | 1,254.04 LF | 3 | 3762.12
Striping - Parking Garage | 1,819.85 LF | 3 | 5459.55
Paving & Striping Total |  |  | 193438.22
32.01400 Pavers
Pavers | 2,414.64 SF | 15 | 36219.6
Permeable pavers | 3,311.89 SF | 15 | 49678.35
Pavers Total |  |  | 85897.95
32.01600 Site Concrete
Concrete Curb (6” Wide @ Top & 8-1/4” @ Bottom) (Includes Excavation) | 1,643.78 LF | 23 | 37806.94
Sidewalks | 5,319.94 SF | 9.5 | 50539.43
Site Concrete Total |  |  | 88346.37
32.09300 Landscaping
Modular Metal Planters | 15.00 EA | 1950 | 29250
Planting - Allowance | 1.00 LS | 200000 | 200000
Irrigation - Allowance | 1.00 LS | 120000 | 120000
Seeding - Allowance | 25,848.65 SF | 1.85 | 47820
Grass pavers | 17,583.21 SF | 12 | 210998.52
Landscaping Total |  |  | 608068.52
Exterior Improvements Total |  |  | 1011649.86
95 Allowances
95.00000 Ammenities
Fifth Floor Balcony Deck / Soffit | 2,749.88 SF | 60 | 164992.8
Fifth Floor Balcony Posts & Railing | 503.38 LF | 300 | 151014
Retail Core and shell - Retail B | 2,100.00 SF | 62 | 130200
Retail Core and shell - Retail A | 2,600.00 SF | 62 | 161200
Indoor Amenities | 3,700.00 SF | 400 | 1480000
Road Work - Lane Expansion | 1.00 LS | 250000 | 250000
Security allowance (200k SF +) | 1.00 LS | 400000 | 400000
Pergola Allowance (over 6,000 sf) | 1.00 LS | 120000 | 120000
Outdoor amenities | 1,328.77 SF | 350 | 465069.5
Ammenities Total |  |  | 3322476.3
Allowances Total |  |  | 3322476.3
Sub-Total (Base Cost) |  |  | 44389814.28

## Summary
Description |  | Total
Sub-Total (Base Cost) |  | 44389814.28
Sub-Total (Direct Cost) |  | 44389814.28
Design Contingency | 3.0000% | 1331694.43
Construction Contingency |  | 0
General Conditions | 7.0000% | 3200505.61
Insurance | 2.5000% | 1223050.36
Fee | 4.0000% | 2005802.59
Total Estimate |  | 52150867.26
Material | 5063823.24
Labor | 279722.31
SubContractor | 39046268.73
Equipment | 0
Other | 0